Solecare Glasgow — Sharps Protocol Health and Safety (Sharp Instruments in Healthcare) Regulations 2013 ¦ Environmental Protection Act 1990

Principles

All sharps used in this practice (scalpel blades, needles, lancets) are single-use only. No resheathing of needles. No passing sharps between hands. Dispose at the point of use, immediately.

Container assembly and management

Assemble a new sharps container at the start of each working period. Record in the Sharps Container Log (IPC_Visit_Log.xlsx).

Check the fill level before each visit. Seal the container when it reaches the three-quarter full mark — never overfill.

The container must be UN3291-approved and BS 7320 compliant (yellow lid, rigid sides).

Seal, label, and date the container when three-quarters full. Record date and container ref in the log.

Transport sealed containers inside a rigid, lockable outer transport box in the vehicle. Never transport loose bags. Never transport open or overfilled containers.

Store sealed containers at the base address in a secure, labelled location separate from household waste until carrier collection.

Arrange carrier collection promptly. Issue a Hazardous Waste Consignment Note. Retain the signed copy for 3 years.

Sharps injury response — IMMEDIATE ACTION

1. STOP the procedure immediately. 2. Remove gloves carefully. 3. Wash the wound under running water for at least 2 minutes. Do not suck the wound. 4. Encourage gentle bleeding if the wound is puncture-type — do not squeeze. 5. Cover with a waterproof plaster. 6. Document immediately in Incident_Log.xlsx and the Sharps Injury Detail sheet. 7. Call the patient's GP or A&E within 1 hour for BBV (blood-borne virus) risk assessment and advice on PEP if indicated. 8. Notify your professional indemnity insurer if the patient's blood-borne virus status is unknown. 9. Review risk assessment and update sharps handling procedure if the injury reveals a hazard.

Sharps injury record — complete immediately

Also complete the full Sharps Injury Detail sheet in Incident_Log.xlsx.

| Date and time: |  | Device type and procedure: |  |
| --- | --- | --- | --- |
| Visible blood contamination? Y / N |  | Patient reference: |  |
| Immediate action taken: |  |  |  |
| Medical advice sought (time/provider): |  | BBV risk assessment outcome: |  |
| Follow-up required? Y / N / Dates: |  |  |  |

| Practitioner signature and date |  |  |
| --- | --- | --- |
| Full name: |  |  |
| Signature: |  |  |
| Date: |  |  |

Solecare Glasgow  |  Sharps Protocol  |  Review annually  |  Version 1.0  |  September 2026